## QTempty
	Quality – Time

Scans at 300dpi, 16 bit, quality mode, empty but dirty slide, 3 different series differing in frame size						Parameters:
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure						trl trh tgl tgh tbl tbh 0x13 0x13 0x13 0x07 0x00 0x00

	under:	under sturated, i.e. too short exposure time
	punder:	possibly above condition
					undersaturated
	red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
	2c89	11401	61893,34		1eb7	7863	59773,31		17ca	6090	62325,497
	2000	8192	45516,201		1200	4608	35709,156		800	2048	30621,294
	1000	4096	33309,962		600	1536	22796,689	under				under
	500	1280	16306,164	under	300	768	22701,418	under				under
	2800	10240	55692,127		1b00	6912	52548,375		1500	5376	55123,843

	red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
	2c89	11401	61893,34		1eb7	7863	59773,31		17ca	6090	62325,497
	2000	8192	45516,201		1200	4608	35709,156		1500	5376	55123,843
	2800	10240	55692,127		1b00	6912	52548,375		b82	2946	22030,162
	c00	3072	7715,076		c00	3072	12733,611		d43	3395	25811,752
	1000	4096	12173,817		1400	5120	29405,672		f04	3844	32353,407
	1400	5120	17316,128		1400	5120	29329,533		10c5	4293	33708,23
	1800	6144	23067,189		1800	6144	38961,583		1286	4742	41691,203
	1c00	7168	29359,457		1c00	7168	47557,122		1447	5191	50145,287
	2400	9216	43558,547		1d5b	7515	53072,269		1608	5640	53835,03

	800	2048	7194,603	punde	800	2048	11164,551	punde	800	2048	30621,294	under

	regression:	Color value = a * _texp + b
	a	6,8115485156				9,0541741811				13,1431546213
	b	-16007,5464430717				-13945,2088353755				-18737,7710459514
	x0	2350,059814786	092E			1540,1966602935	0604			1425,6677019951	0591

	Conclusions:
	The three colors have to be treated separately.
	There is a linear relationship between texp setting and detected illumination.
	There is a minimal exposure time which may be different for the colors, 0x0c00 plays it safe for all three.
	Dirt on the slide and missing shading correction may have shifted the curves down.

		e79	3705	9229,2408073765
		ffff	65535
		200b	8203	53913,538	167c	5756	52154,97	1111	4369	56603,185			25	19
		02819	10265,0791200445		01C84	7300,5199053593		01664	5732,3342999943

		2c89	11401	53913,538	1f41	8001	52154,97	17ca	6090	56603,185

		2c89	11401	61650,9181837461
		e79	3705	9229,2408073765
				6,6799555316

## QTnone
Quality – Time

					r_gain	37	25
Scans at 300dpi, 16 bit, quality mode, no slide, one series, full frame					Parameters:					g_gain	37	25
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure					trl trh tgl tgh tbl tbh 0x25 0x25 0x28 0x07 0x00 0x00					b_gain	40	28

		red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
out1.tiff		c00	3072	20739,98		c00	3072	28787,387		c00	3072	39243,458
out2.tiff		1020	4128	27689,976		e80	3712	34656,951		D80	3456	44222,199
out3.tiff		1440	5184	33525,927		1100	4352	41944,312		F00	3840	46364,174
out4.tiff		1860	6240	41488,18		1380	4992	46093,049		1080	4224	52940,878
out5.tiff		1c80	7296	48281,986		1600	5632	51766,807		1200	4608	57447,59
out6.tiff		20a0	8352	54133,751		1880	6272	57489,523		1380	4992	59711,848
out7.tiff		24c0	9408	61781,746		1B00	6912	62952,771		1500	5376	65504,162	over
out8.tiff		@28e0	10464	65516,372	over	1D80	7552	65519,921	over	1680	5760	65534,956	over
out9.tiff		2d00	11520		over	2000	8192		over	1800	6144		over

		a	6,4518705019				8,8160597656				11,0561627232
		b	831,9774967532				2231,7725071429				5409,9097333334

	Examples:
	2c89	11401	74389,753088846		1eb7	7863	71552,4504442522		17ca	6090	72741,9407177083
	e79	3705	24736,1577062703		bc9	3017	28829,8248200335		c6c	3180	40568,5071931548
			3,007328542				2,4818898793				1,7930642696

	Suggested equation:
	I = a * t + b		where b might be set to zero

## QGnone
Quality – Gain

Scans at 300dpi, 16 bit, quality mode, no slide, one series, full frame					Parameters:
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure					0x79 0x0e 0xff 0x0b 0x6c 0x0c gr gg gb 0x07 0x00 0x00

		red_gain hex	red_gain	red		green_gain hex	green_gain	green		blue_gain hex	blue_gain	blue
out10.tiff		1F	31	21565,826		1F	31	24812,646		1F	31	32215,756
out11.tiff		23	35	23644,892		23	35	27228,386		23	35	35320,814
out12.tiff		27	39	26264,123		27	39	30191,909		27	39	39165,556
out13.tiff		2B	43	29477,249		2B	43	33888,489		2B	43	43948,163
out14.tiff		2F	47	33601,986		2F	47	38625,592		2F	47	50069,661
out15.tiff		33	51	39051,67		33	51	44870,961		33	51	58161,507
out16.tiff		37	55	46548,437		37	55	53549,617		37	55	65531,166	over
out17.tiff		3B	59	57787,635		3B	59	65160,758	over	3B	59	65535	over
out18.tiff		3F	63	65535	over	3F	63	65535	over	3F	63	65535	over

		red_gain hex	red_gain	red-offs	offs	red		green_gain hex	green_gain	green -offs	offs	green		blue_gain hex	blue_gain	blue-offs	offset	blue
		1F	31	4085,5910566184	12007,2349433817	21565,826		1F	31	5394,2005963906	13866,4454036094	24812,646		1F	31	13558,0248716276	11203,7311283724	32215,756
		23	35	6164,6570566184	5473	23644,892		23	35	7809,9405963906	5552	27228,386		23	35	16663,0828716276	7454	35320,814
		27	39	8783,8880566184		26264,123		27	39	10773,4635963906		30191,909		27	39	20507,8248716276		39165,556
		2B	43	11997,0140566183		29477,249		2B	43	14470,0435963906		33888,489		2B	43	25290,4318716276		43948,163
		2F	47	16121,7510566183		33601,986		2F	47	19207,1465963906		38625,592		2F	47	31411,9298716276		50069,661
		33	51	21571,4350566183		39051,67		33	51	25452,5155963906		44870,961		33	51	39503,7758716276		58161,507
		37	55	29068,2020566183		46548,437		37	55	34131,1715963906		53549,617
		3B	59	40307,4000566183		57787,635

		31	8,3152216863					31	8,5930796918					31	9,5147338925
		35	8,7265877866					35	8,9631526367					35	9,7209509449
		39	9,0806744197					39	9,2848413151					39	9,9285617934
		43	9,3924130692					43	9,5798358325					43	10,1381814163
		47	9,6879246365					47	9,8630377073					47	10,354943032
		51	9,9791252674					51	10,1445698617					51	10,584151538
		55	10,2774001429					55	10,4379663688
		59	10,6042903553

		ln(a)	0,0796678767					ln(a)	0,0756758114					ln(a)	0,0532763151
		ln(b)	5,9229002185					ln(b)	6,2982948846					ln(b)	7,855924851
		a	1,0829273426					a	1,0786128434					a	1,0547210402
		b	373,493356956					b	543,6441433904					b	2580,9810330991
		o	17480,2349433817					o	19418,4454036094					o	18657,7311283724

		25	37	7119,6344143719	24599,8693577535			25	37	28358,5261952659				28	40	40399,2158849067
		3f	63	56498,900189699	73979,1351330806			3c	60	70380,8546674611				39	57	72438,692778611
				7,9356462567	3,0072978867					2,481823427					1,7930717513

		Suggested equation:
		I = a *exp(c * g) + o1		where c might be set equal in all 3 channels, same for o1

		Apply OOOs evolutionary Solver for R G B separately

		texp	3705	e79				texp	3071	bff				texp	3180	c6c

		a	493,2983005731	a/texp	0,1331439408			a	908,0545178411	a/texp	0,2956869156			a	1730,1759061792	a/texp	0,5440804736
		c	1,0776246805					c	1,0690085177					c	1,0618628082
		o1	16895,9300766883	o1/texp	4,560305014			o1	17782,4444194678	o1/texp	5,7904410353			o1	21119,1588980324	o1/texp	6,6412449365

		vv	618289,747999112					vv	122848,344020646					vv	30975,3901521919

		red_gain	red	calc	diff²			green_gain	green	calc	diff²			blue_gain	blue	calc	diff²
		31	21565,826	21903,223350196	113836,971919282			31	24812,646	24969,1202939567	24484,2046692524			31	32215,756	32241,877912018	682,3542874771
		35	23644,892	23648,5630603098	13,476683798			35	27228,386	27167,8429943935	3665,4555278662			35	35320,814	35260,3048787635	3661,3537528126
		39	26264,123	26002,2575316309	68573,5235241634			39	30191,909	30039,2524275905	23304,0290998274			39	39165,556	39097,8572178321	4583,1251070157
		43	29477,249	29176,3546040951	90537,4374869502			43	33888,489	33789,153282034	9867,5848638152			43	43948,163	43976,8250104402	821,5108424722
		47	33601,986	33456,8134096813	21075,0809798442			47	38625,592	38686,3150227408	3687,2854907771			47	50069,661	50179,822290494	12135,5099233061
		51	39051,67	39229,2668564485	31540,6434204024			51	44870,961	45081,7356073206	44425,9350911654			51	58161,507	58066,1574523393	9091,5362391082
		55	46548,437	47013,7638714904	216529,097331047			55	53549,617	53433,7988266508	13413,8492779424
		59	57787,635	57511,6213832098	76183,5166536245

		Evolutionary Solver taking all R G B data with c and o1 common to all channels, approximate gain only for range 1f – 2b
					calc	diff²
		red	31	21565,826	21466,329380483	9899,5772953103		t_red	3705
			35	23644,892	23802,4761644291	24832,7688788197		t_green	3071
			39	26264,123	26403,0074634598	19288,8941905122		t_blue	3180
			43	29477,249	29297,8439881643	32186,158271768
		green	31	24812,646	24646,3479736999	27655,0335512982		a_r/t	2,4272854264
			35	27228,386	27358,3336302184	16886,3865993887		a_g/t	3,3995114303
			39	30191,909	30377,2379348468	34346,8140914544		a_b/t	4,2794117477
			43	33888,489	33737,7952366887	22708,6103009257		c	1,027165655
		blue	31	32215,756	31943,8012254528	73959,399399007		o1	0,2223311541
			35	35320,814	35478,9057599735	24993,0045715108
			39	39165,556	39414,082286783	61765,3152221327		vv	372101,275468902
			43	43948,163	43794,607429939	23579,3130967738

		Same as above, set o1 = 0
					calc	diff²		No advantage whith these offsets when applied +/- to gain
		red	31	21565,826	21422,5669166735	20523,1649555507		offs_r	14	e	unused
			35	23644,892	23787,8499481528	20436,9749400706		offs_g	7	7	unused
			39	26264,123	26414,2858022965	22548,8671935349		offs_b	12	c	unused
			43	29477,249	29330,7085745923	21474,0962786666
		green	31	24812,646	24640,217817205	29731,4782219796		a_r/t	2,5679393266
			35	27228,386	27360,7643008119	17524,0145258572		a_g/t	3,5634132354
			39	30191,909	30381,6885336893	36016,271407339		a_b/t	4,4643470613
			43	33888,489	33736,1554673646	23205,5051651957		c	1,0265282853	0,0261825122			4,6868851688	23787,8499481528	0,0261825122
		blue	31	32215,756	31965,6549364546	62550,5419865622		o1	0		const
			35	35320,814	35495,0088885467	30343,8591957969
			39	39165,556	39414,041680128	61745,1332286767		vv	379364,170262499
			43	43948,163	43765,7780687056	33264,2631632684
					test calculation for “normal mode”

		Evolutionary Solver taking all R G B data with o1=0 and range 2b -max					39	-16046,7459539956	-9674,6916418815	6903,8549554938
					41	-11848,5786582013	-4935,9837674138	13048,9188860097
					calc	diff²					43	-7294,2813502816	204,7081095693	19715,2678292209
		red	43	29477,249	29120,8593248592	127013,600546972		t_red	3705		45	-2353,6435653837	5781,4842422505	26947,1223282388
			47	33601,986	34271,05395567	447651,929304401		t_green	3071		47	3006,10791134	11831,3376040697	34792,4541493739
			51	39051,67	40332,090689021	1639477,14087289		t_blue	3180		51	15128,1813780419	25514,2046611025	52536,1292282393
			55	46548,437	47465,0572886243	840192,753517757		a_r/t	1,365025533		53	21970,9139011169	33237,9822538763	62552,1733377345
			59	57787,635	55859,5308332398	3717585,677878		a_g/t	1,8588714895		55	29394,1145772487	41616,9669439288	73417,8772294246
		green	43	33888,489	32870,3540547847	1036598,76666865		a_b/t	2,3279225737		57	37447,0244480207	50706,739868232	85205,3174374769
			47	38625,592	38683,6688020348	3372,9149345932		c	0,0407115893		59	46183,0616664796	60567,597104728	97992,6847395318
			51	44870,961	45525,1023305513	427900,880335375					61	55660,1758409841	71264,9496401889	111864,80282722
			55	53549,617	53576,4834719644	721,8073158147		vv	10763392,4159721		63	65941,2324379977	82869,7572672986	126913,690975434
		blue	43	43948,163	42625,6339146105	1749083,1817013
			47	50069,661	50164,2270746869	8942,7424816959
			51	58161,507	59036,0646141197	764851,020414694

		I = aj *exp(c0 * g + c1 * g^2) * t					I = 2 * aj *exp(c0 * g + c1 * g^2) * t – 65536

				Illum (I)	calc	diff²					gain	red	green	blue
		red	31	21565,826	21365,6740327491	40060,8099943887		t_red	3705		39	-12611,5808474273	-5500,026840764	12179,8898851453
			35	23644,892	23632,8878556432	144,0994817393		t_green	3071		41	-9275,7479406235	-1715,9517755428	17078,3323623889
			39	26264,123	26462,2095762867	39238,2917049678		t_blue	3180		43	-5546,5989986539	2514,2899422068	22554,332537354
			43	29477,249	29994,7005006734	267756,05554915					45	-1374,4782046316	7247,026475128	28680,806581047
			47	33601,986	34416,9253348966	664126,119561755		ar	3,9947447675		47	3297,8506697924	12547,1849915093	35541,8019802618
			51	39051,67	39976,8641300983	855984,178368447		ag	5,4670479991		51	14417,7282601956	25161,2615036553	51870,5817040551
			55	46548,437	47006,1295604047	209482,479849829		ab	6,8344544413		53	21030,1225307085	32662,1756619829	61580,4304512448
			59	57787,635	55951,1963488757	3372506,9193431		c0	2,74919234E-16		55	28476,259120808	41108,8636676554	72514,5727729144
		green	31	24812,646	24236,6199440237	331806,017163638		c1	3,82021508E-04		57	36875,397253726	50636,6098306299	84848,1326819276
			35	27228,386	26808,4835638231	176318,055907324					59	46366,3926977497	61402,9282306333	98785,0103773023
			39	30191,909	30017,9865796183	30249,008311421		vv	8166784,62972693		61	57111,2267613036	73591,5659099683	114563,064332132
			43	33888,489	34025,1449711038	18674,8544383263					63	69299,2271596051	87417,2909059812	132460,309347592
			47	38625,592	39041,5924957551	173056,412468525
			51	44870,961	45348,6307518283	228168,391811678
			55	53549,617	53322,4318338285	51613,0997283675
		blue	31	32215,756	31374,0310623763	708500,870617593
			35	35320,814	34703,2795005719	381348,857983874
			39	39165,556	38857,9449425731	94624,5626513071		This seems best suited for calibration, c0 = 0, c1 has to be given, aj can be derived from the test lines
			43	43948,163	44045,1662686775	9409,6341341223
			47	50069,661	50538,9009901315	220186,168338645
			51	58161,507	58703,2908520284	293529,74231873

## QGTnone
Quality – Gain – Time

Suggested equation:
I = a *exp(c * g) * t		where g is restricted to the range 1f – 2b (31 – 43)					data from tables QGnone and QTnone

	gain	texp	I	calc	diff²
red	31	3705	21565,826	20973,4740406599	350880,843734016
	35	3705	23644,892	23239,088515728	164676,467847255
	39	3705	26264,123	25749,4411271529	264897,430237354
	43	3705	29477,249	28530,9691863336	895445,485752576		a_r	2,5564046657
	37	3072	20739,98	20282,7317927348	209075,923047258		a_g	3,5864690742
	37	4128	27689,976	27254,9208464874	189272,986597906		a_b	4,4650512717
	37	5184	33525,927	34227,1099002399	491657,459588892		c	0,0256443031
	37	6240	41488,18	41199,2989539925	83452,2587423769					seems constant between channels
	37	7296	48281,986	48171,4880077451	12209,8062923629					21522,3708801575
	37	8352	54133,751	55143,6770614977	1019950,64969222		vv	22323470,1896652					20823,039444792
	37	9408	61781,746	62115,8661152503	111636,251414848					20137,3812354071
green	31	3071	24812,646	24389,3073016553	179215,653516196
	35	3071	27228,386	27023,9098263678	41810,50558327
	39	3071	30191,909	29943,1096287877	61901,1271156118			From USB snoop				calculated
	43	3071	33888,489	33177,6497184275	505292,484226511			d7 PIE_READ_CALIBRATION
	37	3072	28787,387	28455,3503176402	110248,358432516			r_texp	8419	20E3		red	54178,6983281232
	37	3712	34656,951	34383,5483004819	74749,036103795			g_texp	5806	16ae		green	52418,2572001908
	37	4352	41944,312	40311,7462833236	2665270,81926717			b_texp	4510	119e		blue	54746,0747054177
	37	4992	46093,049	46239,9442661653	21578,2192217707			target_ill	57720	e178		mean	53781,0100779106
	37	5632	51766,807	52168,142249007	161069,982095501			r_gain	36	24		factor	1,0732412782
	37	6272	57489,523	58096,3402318487	368227,152868516			g_gain	36	24
	37	6912	62952,771	64024,5382146904	1148684,96248522			b_gain	39	27
blue	31	3180	32215,756	31441,7079381776	599150,402011007
	35	3180	35320,814	34838,130890689	232982,984014129			dc PIE_WRITE_CALIBRATION				calculated for no slide
	39	3180	39165,556	38601,4451359708	318221,066915796			r_texp	11401	2c89
	43	3180	43948,163	42771,2833177168	1385045,78657096			g_texp	7863	1eb7		red	75274,5524638572
	40	3072	39243,458	38259,1074847755	968945,936822835			b_texp	6090	17ca		green	72833,4699048192
	40	3456	44222,199	43041,4959203724	1394059,76224215			r_gain	37	25		blue	75845,6915957951
	40	3840	46364,174	47823,8843559693	2130754,32332404			g_gain	37	25		mean	74651,2379881572
	40	4224	52940,878	52606,2727915662	111960,645510998			b_gain	40	28
	40	4608	57447,59	57388,6612271632	3472,6002680546
	40	4992	59711,848	62171,0496627601	6047672,81812206			pfset_a3_3k3_on
					dc PIE_WRITE_CALIBRATION				calculated for no slide
					r_texp	5742	166e
					g_texp	4082	ff2		red	34215,2491918524
					b_texp	4082	ff2		green	34124,5559175062
					r_gain	33	21		blue	34604,2095820536
					g_gain	33	21		mean	34314,6715638041
					b_gain	25	19

I = aj *exp(c * g^2) * t			full range of g				data from tables QGnone and QTnone

	gain	t_exp	I	calc	diff²
red	31	3705	21565,826	20655,5957734841	828519,065263176		ar	3,8195169466
	35	3705	23644,892	22916,9607836397	529883,855751769		ag	5,3641440066
	39	3705	26264,123	25748,1080372075	266271,441825702		ab	6,6267303623
	43	3705	29477,249	29295,6156665413	32990,6678233245		c	3,93526582E-04
	47	3705	33601,986	33754,2872279232	23195,6640269097
	51	3705	39051,67	39384,4023385323	110710,809105171
	55	3705	46548,437	46535,9498414108	155,929129631		vv	39645520,4229749
	59	3705	57787,635	55682,9084605682	4429873,8057886
	37	3072	20739,98	20109,4663376734	397547,478380507		vv-above	33022884,6069514
	37	4128	27689,976	27022,0953912486	446064,507546105
	37	5184	33525,927	33934,7244448239	167115,350894511			From USB snoop				calculated
	37	6240	41488,18	40847,3534983991	410658,605154061			d7 PIE_READ_CALIBRATION
	37	7296	48281,986	47759,9825519743	272487,599750699			r_texp	8419	20E3		red	53550,5178307062
	37	8352	54133,751	54672,6116055496	290370,752213233			g_texp	5806	16ae		green	51864,7374770591
	37	9408	61781,746	61585,2406591248	38614,3489924868			b_texp	4510	119e		blue	54378,1603207774
	37	10464	65516,372	68497,8697127	8889328,61083534			target_ill	57720	e178		mean	53264,4718761809
green	31	3071	24812,646	24044,8082063715	589574,877324227			r_gain	36	24		factor	1,0836491561
	35	3071	27228,386	26677,2226160102	303781,075851094			g_gain	36	24
	39	3071	30191,909	29972,9103058043	47960,428059439			b_gain	39	27
	43	3071	33888,489	34102,5002480837	45800,8143063421
	47	3071	38625,592	39292,7597653742	445112,827154385			dc PIE_WRITE_CALIBRATION				calculated for no slide
	51	3071	44870,961	45846,6756871881	952019,15079461			r_texp	11401	2c89
	55	3071	53549,617	54171,6637422998	386942,149605754			g_texp	7863	1eb7		red	74631,5187877		ft	1,354198836	770,4943673936	73
	37	3072	28787,387	28241,8103753865	297653,853324619			b_texp	6090	17ca		green	72286,8994080939		fg	1,0291440532
	37	3712	34656,951	34125,5208702587	282417,982796828			r_gain	37	25		blue	75747,2497432561		f	1,3936656789	843,4943673936	11,5547173616	37,1530542047
	37	4352	41944,312	40009,2313651309	3744537,0634453			g_gain	37	25		mean	74221,8893130167		11	1,3716327863
	37	4992	46093,049	45892,9418600031	40042,8674777304			b_gain	40	28
	37	5632	51766,807	51776,6523548753	96,9310126208					ft	1,3542886669
	37	6272	57489,523	57660,3628497475	29186,2542617506			pfset_a3_3k3_on					fg	1,0291440532
	37	6912	62952,771	63544,0733446197	349638,462752759			dc PIE_WRITE_CALIBRATION				calculated for no slide			f	1,3937581279
blue	31	3180	32215,756	30758,6657074968	2123112,12050696			r_texp	5742	166e					11	1,3716327863
	35	3180	35320,814	34126,1101110757	1427317,38221084			g_texp	4082	ff2		red	33665,7833214708
	39	3180	39165,556	38342,0287849384	678197,073947139			b_texp	4082	ff2		green	33611,7034612044		ft	1,3503325942	763,2290734517	79
	43	3180	43948,163	43624,694192515	104632,069415739			r_gain	33	21		blue	34593,046801528		fg	1,0315768975
	47	3180	50069,661	50264,192252025	37842,4080143974			g_gain	33	21		mean	33956,8445280678		f	1,3929719081	842,2290734517	10,661127512
	51	3180	58161,507	58648,1106091153	236783,072404078			b_gain	25	19					11	1,40772454
	40	3072	39243,458	38209,4501167952	1069172,30252965
	40	3456	44222,199	42985,6313813946	1529099,4753834
	40	3840	46364,174	47761,812645994	1953393,78477597			Conclusion:
	40	4224	52940,878	52537,9939105934	162315,589496975			Scanners are different, see pfset_a3_3k3_on
	40	4608	57447,59	57314,1751751928	17799,5154783324			Slight deterioration as compared to first calculation in this table,
	40	4992	59711,848	62090,3564397922	5657302,39816278			but preferable as whole gain range can be used and “normal mode” may be extrapolated

## NTnone
Normal – Time

					r_gain	51	33
Scans at 300dpi, 16 bit, normal mode, no slide, one series, full frame					Parameters:					g_gain	45	2d
Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure					trl trh tgl tgh tbl tbh 0x33 0x2d 0x24 0x07 0x00 0x00					b_gain	36	24

		red_texp hex	red_texp	red		green_texp hex	green_texp	green		blue_texp hex	blue_texp	blue
out1.tiff		c00	3072	379,779	under	c00	3072	6858,232		c00	3072	4644,872	under
out2.tiff		d00	3328	4596,393		d00	3328	12754,109		d00	3328	10155,086
out3.tiff		e00	3584	9835,315		e00	3584	18493,521		e00	3584	15646,278
out4.tiff		1A40	6720		over	1A40	6720		over	1A40	6720		over

	solver: common offset					calculate separately
		texp	illum	calc	diff²
	red	3328	4596,393	4625,1118149272	824,7703308241	a_r	20,2484272466		a_r	20,4645390625
		3584	9835,315	9808,7091900524	707,8691229681	a_g	22,6755651671		o_r	-63509,593	F815	49103
	green	3072	6858,232	6897,6821316051	1556,3128836591	a_b	21,8924451879		a_g	22,7251738281
		3328	12754,109	12702,6268143805	2650,41543616	off	-62761,6540617		o_g	-62927,4245	F5CF
		3584	18493,521	18507,5714971559	197,4164703289				a_b	21,44996875
	blue	3328	10155,086	10096,4035236369	3443,6330321115	vv	12360,6482464166		o_b	-61230,41	EF2E
		3584	15646,278	15700,8694917397	2980,230970365
	solver: offset fixed
		texp	illum	calc	diff²
	red	3328	4596,393	4518,6677987454	6041,2069100768	a_r	21,0500804684
		3584	9835,315	9907,4883986488	5208,9994725225	a_g	23,5059207517
	green	3072	6858,232	6674,1885492971	33871,9917466503	a_b	22,6940925871
		3328	12754,109	12691,7042617385	3894,3513574898	off	-65536
		3584	18493,521	18709,2199741799	46526,0474622599
	blue	3328	10155,086	9989,9401298402	27273,1584308442	vv	146331,926395854
		3584	15646,278	15799,6278321356	23516,17101601

## NGnone
	Normal – Gain

	Scans at 300dpi, 16 bit, quality mode, no slide, one series, full frame					Parameters:
	Images were analysed with ImageJ, Image->Color->Split Channels, Process->Measure					0x79 0x0e 0xff 0x0b 0x6c 0x0c gr gg gb 0x07 0x00 0x00

			red_gain hex	red_gain	red	red min	red max	red (min+max)/mean/2			green_gain hex	green_gain	green	green min	green max	green (min+max)/mean/2			blue_gain hex	blue_gain	blue	blue min	blue max	blue (min+max)/mean/2
	out1.tiff		13	19	0	0	0		under		13	19	0	0	0		under		13	19	0	0	0		under
	out2.tiff		17	23	0	0	0		under		17	23	0	0	0		under		17	23	0	0	0		under
	out3.tiff		1B	27	0	0	0		under		1B	27	0	0	0		under		1B	27	0	0	0		under
	out4.tiff		1F	31	0	0	0		under		1F	31	0	0	0		under		1F	31	141,745	0	4359		under
	out5.tiff		23	35	0	0	0		under		23	35	0	0	0		under		23	35	5059,361	0	10723	1,0597188064	under
	out6.tiff		27	39	0	0	0		under		27	39	23,708	0	3145		under		27	39	12757,707	5643	19159	0,9720398815
	out7.tiff		2B	43	0	0	0		under		2B	43	5253,213	0	11711	1,1146511668	under		2B	43	22330,57	14257	29243	0,9740011115
	out8.tiff		2F	47	2147,064	0	7743		under		2F	47	15143,117	8191	22873	1,0256805121			2F	47	34572,38	24969	42851	0,9808407752
	out9.tiff		33	51	12992,685	5877	19895	0,9917888412			33	51	28194,988	20105	37077	1,014045475			33	51	50760,612	40227	59653	0,9838336859
	out10.tiff		37	55	28209,103	19005	36579	0,9852138865			37	55	46322,565	36323	56475	1,0016500597			37	55	65525,287	60581	65534		over
	out11.tiff		3B	59	50703,065	40189	61803	1,0057774614			3B	59	65519,113	60293	65534		over		3B	59	65534	65534	65534		over
	out12.tiff		3F	63	65534	65534	65534		over		3F	63	65534	65534	65534		over		3F	63	65534	65534	65534		over

			offset	18822		-18822,9078360892					offset	18418		-18418,9798985676					offset	15643		-15643,5524015323
			red_gain	red+offs	red					green_gain	green+offs	green					blue_gain	blue+offs	blue
			51	31814,685	12992,685					43	23671,213	5253,213					35	20702,361	5059,361
			55	47031,103	28209,103					47	33561,117	15143,117					39	28400,707	12757,707			54,6508960336
			59	69525,065	50703,065					51	46612,988	28194,988					43	37973,57	22330,57			0,0723206616
						55	64740,565	46322,565					47	50215,38	34572,38
						51	66403,612	50760,612
						1,0259756361

	Suggested equation:
	I = aj *exp(cj * g)t + o2

						texp_r	3705	e79
						texp_g	3071	bff
	Solver					texp_b	3180	c6c

		gain	texp	illumn	calc	diff²
	red	51	3705	12992,685	12282,691047638	504091,412390613	ar	1,6702820569
		55	3705	28209,103	29375,6837248182	1360910,58751742	ag	3,7643985626
		59	3705	50703,065	50223,1779841863	230291,547946592	ab	6,6175728092
	green	47	3071	15143,117	14654,8877760291	238367,775139249	cr	0,0496412918
		51	3071	28194,988	29025,0360783908	688979,812440227	cg	0,0412089052
		55	3071	46322,565	45970,30442193	124087,514862198	cb	0,0333954798
	blue	39	3180	12757,707	11867,6213477132	792252,468406902	o2	-65536
		43	3180	22330,57	22929,7513020621	359018,232740865
		47	3180	34572,38	35572,824331118	1000888,85966617	vv	5843283,18090285
		51	3180	50760,612	50022,7807389432	544394,969792607

	I = aj *exp(c * g) * (t – to)

		gain	texp	illumn	calc	diff²
	red	51	3705	12992,685	14517,4172469932	2324808,42502097	ar	0,0074876129
		55	3705	28209,103	27191,876034119	1034750,70011538	ag	2,0856169401
		59	3705	50703,065	50931,7952136451	52317,5106341247	ab	1,7548195565
	green	47	3071	15143,117	16079,2098650693	876269,852033645	cr	0,1568922839
		51	3071	28194,988	27285,1060807939	827885,1068981	cg	0,1322034659
		55	3071	46322,565	46300,5968631264	482,5990376968	cb	0,1070667294
	blue	39	3180	12757,707	14210,7514293278	2111338,11360048	to	3055,5647354232
		43	3180	22330,57	21807,7571429829	273333,283462416
		47	3180	34572,38	33466,0889659806	1223879,85195162	vv	9080641,6576226
		51	3180	50760,612	51356,9141171086	355576,214868173

	red_gain	texp_r	red		green_gain	texp_g	green		blue_gain	texp_b	blue
out21.tiff	53	3328	6505,608		46	3072	12783,827		37	3840	25697,027
out22.tiff	55	3328	13478,631		48	3072	18383,692		41	3840	36167,194
out23.tiff	57	3328	21939,438		51	3072	28665,73		45	3840	49407,949
out24.tiff	59	3328	38032,787		54	3072	36532,488		49	3072	38706,868
out25.tiff	61	3328	52024,981		56	3072	46791,579		51	3072	47130,587
out26.tiff	63	3104	61433,336	over	58	3072	59397,015	over	53	3072	56957,652	over

	Solver
	I = aj *exp(cj * g) * t + o2

		gain	texp	Illum	calc	diff²
	red	53	3328	6505,608	4457,6256198168	4194231,82954092	ar	0,7059501687
		55	3328	13478,631	14022,1998463053	295467,09067371	ag	5,039698161
		57	3328	21939,438	24893,7656641555	8728051,94719446	ab	7,446694932
		59	3328	38032,787	37250,9224526431	611312,170413572	cr	0,064042326
		61	3328	52024,981	51296,6750566101	530429,547176994	cg	0,035234411
	green	46	3072	12783,827	12756,9776789694	720,8860398042	cb	0,0310713358
		48	3072	18383,692	18473,2352468439	8017,9930553462	o2	-65536
		51	3072	28665,73	27839,5906776027	682506,180011147
		54	3072	36532,488	38250,2195599353	2950601,71199777
		56	3072	46791,579	45827,7671330163	928933,314938518	vv	22327741,7098937
	blue	37	3840	25697,027	24740,9432293338	914096,176531345
		41	3840	36167,194	36688,0973187539	271340,2674888
		45	3840	49407,949	50216,3249993982	653471,756403019
		49	3072	38706,868	39320,6910871276	376778,782290896
		51	3072	47130,587	46043,4890025143	1181782,0561374

I = 2 * aj *exp(c1 * g^2) * t – 65536					for both series

		gain	t_exp	I	calc	diff²
	red	51	3705	12992,685	14085,3045644574	1193817,51263508
		55	3705	28209,103	28470,6485444245	68406,0718082881		a_r	3,8791696343
		59	3705	50703,065	46855,0089288901	14807535,5264059		a_g	5,4712902165
		53	3328	6505,608	12054,5034508531	30790240,724498		a_b	6,7090081981
		55	3328	13478,631	18905,0597451672	29446128,9263773		c	3,91707091E-04
		57	3328	21939,438	26648,8833001807	22178875,0353946
		59	3328	38032,787	35418,7308273539	6833289,67374919
		61	3328	52024,981	45369,8794364137	44290376,8216488		vv	201214457,391535
	green	47	3071	15143,117	14297,7100021523	714712,992009849
		51	3071	28194,988	27547,321866104	419471,420995811
		55	3071	46322,565	44364,8760517162	3832546,01823254
		46	3072	12783,827	11466,8674455061	1734382,46817266
		48	3072	18383,692	17351,4442292882	1065535,46013948
		51	3072	28665,73	27577,6322932828	1183956,61936328
		54	3072	36532,488	39805,5927073694	10713214,4254041		fit is not so good, but the two test series seem to be somewhat different
		56	3072	46791,579	49286,0907689158	6222588,96525961		coefficients come out similar as in “quality mode”
	blue	39	3180	12757,707	11885,6140963972	760546,032514339
		43	3180	22330,57	22500,0085980145	28709,4384971125
		47	3180	34572,38	35832,3053929113	1587411,99570261
		51	3180	50760,612	52655,9091278045	3592151,20266407
		37	3840	25697,027	22550,3589928111	9901519,54746641
		41	3840	36167,194	34001,0859556981	4692024,05958941
		45	3840	49407,949	48359,0644545535	1100158,78967657
		49	3072	38706,868	40038,3930911109	1772959,0682579
		51	3072	47130,587	48641,8442895017	2283898,59507209

	blue	39	3180	12757,707	12730,1640354592	758,6148956977
		43	3180	22330,57	22738,4469295586	166363,589666165		ab	7,6220938411
		47	3180	34572,38	35202,2939434402	396791,576140341		c	3,66875912E-04
		51	3180	50760,612	50783,5752915796	527,3127601699		t0	241,501255733
		37	3840	25697,027	25110,5757270074	343925,095594678
		41	3840	36167,194	36103,6227159253	4041,3081589099		vv	1450429,55547966
		45	3840	49407,949	49775,6842931957	135229,245861754
		49	3072	38706,868	38581,5231284783	15711,3368167828
		51	3072	47130,587	46508,4282778196	387081,475585157

	green	47	3071	15143,117	15504,4279165038	130545,578384849
		51	3071	28194,988	27856,9429371873	114274,464492035		ag	5,9319001258
		55	3071	46322,565	43345,9711340435	8860111,04284969		c	3,61907257E-04
		46	3072	12783,827	12847,7267752547	4083,1812776019		t0	1,61329877122749E-009
		48	3072	18383,692	18366,4574671911	297,0291211407
		51	3072	28665,73	27887,3541852945	605868,908918419		vv	17775352,5940728
		54	3072	36532,488	39168,5050082685	6948585,66788077
		56	3072	46791,579	47845,8971309018	1111586,72114832

	red	51	3705	12992,685	8882,7085540874	16891906,3859563
		55	3705	28209,103	26288,6297220527	3688217,61130946		ar	2,8275549017
		59	3705	50703,065	49577,1867336442	1267601,87065243		c	4,95691486E-04
		53	3328	6505,608	8384,9539433156	3531941,17465659		t0	80
		55	3328	13478,631	16738,8682309593	10629146,8021332
		57	3328	21939,438	26400,7265989545	19903095,9631613		vv	58025401,1230125
		59	3328	38032,787	37605,4153133452	182646,558554149
		61	3328	52024,981	50635,4325997673	1930844,75658917

## NGTnone
Normal – Gain – Time

I = 2 * aj *exp(c0 * g + c1 * g^2) * t – 65536					data from tables NTnone and NGnone

	gain	t_exp	I	calc	diff²
red	51	3328	4596,393	5584,1861771222	975735,360769176
	51	3584	9835,315	11054,9697292085	1487557,65848074		a_r	3,8064671607
	51	3705	12992,685	13640,7697674993	420013,865864674		a_g	5,36757452
	55	3705	28209,103	28149,0140088729	3610,6868546715		a_b	6,6530396556
	59	3705	50703,065	46732,3569186151	15766522,6675755		c	3,96828528E-04
	53	3328	6505,608	11703,5431437631	27018529,758768
	55	3328	13478,631	18616,1529342858	26394131,6252681
	57	3328	21939,438	26438,9350691075	20245473,8749066		vv	219676965,998787
	59	3328	38032,787	35308,5591970718	7421417,12224702
	61	3328	52024,981	45385,1024858296	44087986,6829411
green	45	3072	6858,232	8121,7893442471	1596577,16220088
	45	3328	12754,109	14259,9384562677	2267522,35136357
	45	3584	18493,521	20398,0875682883	3627373,81304154
	47	3071	15143,117	13675,4432801629	2154066,14790051
	51	3071	28194,988	27007,3845899262	1410401,85961887
	55	3071	46322,565	43964,9092590514	5558540,59282774
	46	3072	12783,827	10830,2843906491	3816328,72654956
	48	3072	18383,692	16745,3982313256	2684006,47247737
	51	3072	28665,73	27037,5191990405	2651070,41236122
	54	3072	36532,488	39363,6435344744	8015441,66038518
	56	3072	46791,579	48933,2689332468	4586835,77017063
blue	36	3328	10155,086	8524,4992703934	2658813,08276906
	36	3584	15646,278	14221,4607527314	2030104,18811409
	39	3180	12757,707	11840,1357561338	841936,987570205
	43	3180	22330,57	22596,2182167005	70568,975036145
	47	3180	34572,38	36130,3564517979	2427290,62435681
	51	3180	50760,612	53241,6454431991	6155526,94627224
	37	3840	25697,027	22430,1114426485	10672737,258865
	41	3840	36167,194	34024,1658921748	4592569,47092899
	45	3840	49407,949	48586,3544318816	675017,634361616
	49	3072	38706,868	40452,9806396589	3048909,35037655
	51	3072	47130,587	49207,6876734301	4314347,20756355

I = n * aj *exp(c0 * g + c1 * g^2) * t – (n -1) * 65536					with c from quality mode n=2,047, not really an improvement

I = nj * aj *exp(c0 * g + c1 * g^2) * t – (nj -1) * 65536

	gain	t_exp	I	calc	diff²
red	51	3328	4596,393	1362,2242743408	10459847,3460319
	51	3584	9835,315	7998,0765801552	3375445,01135402		a_r	4,0573844661
	51	3705	12992,685	11134,5536465752	3452652,1265803		a_g	5,3836012089
	55	3705	28209,103	28573,5194970731	132799,383338994		a_b	6,5765676781
	59	3705	50703,065	50878,2722745056	30697,5890396626		c	3,93526582E-04	fixed
	53	3328	6505,608	8720,447755022	4905515,1404258		nr	2,2955300247
	55	3328	13478,631	17026,6988628582	12588785,5594472		ng	1,9744059655
	57	3328	21939,438	26419,7913700762	20073566,3207536		nb	1,8942961304
	59	3328	38032,787	37061,8452173239	942727,945346254
	61	3328	52024,981	49142,5759610268	8308258,8086981		vv	121161922,038657
green	45	3072	6858,232	8587,6047200558	2990730,00487308
	45	3328	12754,109	14624,7942264166	3499463,21633329
	45	3584	18493,521	20661,9837327774	4702230,62344456
	47	3071	15143,117	14002,5931542763	1300794,64266441
	51	3071	28194,988	26989,6210889777	1452909,39018748
	55	3071	46322,565	43486,1483160482	8045259,60500046
	46	3072	12783,827	11228,9852274295	2417532,93773023
	48	3072	18383,692	16994,8533777084	1928872,71876876		we may consider this if a different type of scanner needs it
	51	3072	28665,73	27019,2037299563	2711048,75794408
	54	3072	36532,488	39012,5002149396	6150460,58624972
	56	3072	46791,579	48315,5589571256	2322514,90972064
blue	36	3328	10155,086	10435,2917600877	78515,2679863245
	36	3584	15646,278	15746,3596801392	10016,3426994846
	39	3180	12757,707	13472,765996772	511309,368864593
	43	3180	22330,57	23403,9486894805	1152141,81103097
	47	3180	34572,38	35885,9181386086	1725382,44157935
	51	3180	50760,612	51647,3223708823	786255,281830261
	37	3840	25697,027	23379,2182936818	5372237,19908458
	41	3840	36167,194	34089,7766004518	4315663,05194566
	45	3840	49407,949	47527,697350251	3535346,26638403
	49	3072	38706,868	39841,1772190156	1286657,40434372
	51	3072	47130,587	47902,7819099647	596284,978975373

## QNTGnone
	Quality -Normal – Gain – Time

	I = aj *exp(c * g^2) * t			quality
	I = 2 * aj *exp(c * g^2) * t – 65536			normal		data from tables QGTnone and NGTnone

		gain	t_exp	I	calc	diff²
quality	red	31	3705	21565,826	20597,8634661798	936951,466879704
		35	3705	23644,892	22878,9199878067	586713,123463457		a_r	3,7931016205
		39	3705	26264,123	25738,1752791806	276621,005035133		a_g	5,3471817374
		43	3705	29477,249	29325,7331922982	22957,0399835361		a_b	6,6263923721
		47	3705	33601,986	33841,4446385676	57340,4395846665		c	3,97835632E-04
		51	3705	39051,67	39552,8515659008	251182,961998755
		55	3705	46548,437	46820,4512465091	73991,7503038923
		59	3705	57787,635	56133,5205401144	2736094,64640274		vv	262541942,500576
		37	3072	20739,98	20088,546959039	424365,006855678
		37	4128	27689,976	26993,9849762087	484403,505198096
		37	5184	33525,927	33899,4229933783	139499,257069667		dc PIE_WRITE_CALIBRATION
		37	6240	41488,18	40804,861010548	466924,841345708			quality		normal
		37	7296	48281,986	47710,2990277177	326825,994277348		r_texp	11401	2c89	3705	e79
		37	8352	54133,751	54615,7370448873	232310,547466124		g_texp	7863	1eb7	3106	c22		helpers
		37	9408	61781,746	61521,175062057	67897,2137005047		b_texp	6090	17ca	3180	c6c		nr	2
		37	10464	65516,372	68426,6130792266	8469503,13921819		r_gain	37	25	63	3f		ng	2
	green	31	3071	24812,646	24068,2351608213	554147,497486684		g_gain	37	25	60	3c		nb	2
		35	3071	27228,386	26733,6089199875	244804,358905728		b_gain	40	28	57	39
		39	3071	30191,909	30074,5976031391	13761,9638334495
		43	3071	33888,489	34266,5948774076	142964,054530161		calculated for no slide
		47	3071	38625,592	39543,1229593458	841863,061357958			quality	normal
		51	3071	44870,961	46216,7998313137	1811282,15987193		red	74553,8814713554	70786,5974844075
		55	3071	53549,617	54708,8601100312	1343844,58815476		green	72484,6516056525	73573,4210204574					bright	75000
		37	3072	28787,387	28319,0702953789	219320,535827151		blue	76267,4019932426	87957,2919372398				From USB snoop					ar	3,9010554691
		37	3712	34656,951	34218,8766069162	191909,173875752		mean	74435,3116900835	77439,1034807016				d7 PIE_READ_CALIBRATION					ag	5,6567320004
		37	4352	41944,312	40118,6829184535	3332921,54338846					r_texp	8419	20E3			ab	6,6587250696
		37	4992	46093,049	46018,4892299907	5559,1593038341					g_texp	5806	16ae			tmin	3072
		37	5632	51766,807	51918,295541528	22948,7782142829					b_texp	4510	119e			tmax	3840
		37	6272	57489,523	57818,1018530653	107964,062681694					target_ill	55000	e178			3885,0139657363	4445,9077954685		62,3298801999	66,6776408961
		37	6912	62952,771	63717,9081646026	585434,880656031		pfset_a3_3k3_on / pfset_a3_3k3_off					r_gain	36	24			2950,9619082183	3511,8557379506		54,3227568172	59,2609123955
	blue	31	3180	32215,756	30884,726029542	1771640,78225751		dc PIE_WRITE_CALIBRATION					g_gain	36	24			2541,0396144812	3101,9334442134		50,4087255788	55,6950037635
		35	3180	35320,814	34304,9742433444	1031930,41120207			quality		normal			b_gain	39	27
		39	3180	39165,556	38592,181820363	328757,949874354		r_texp	5742	166e	3042	0BE2
		43	3180	43948,163	43971,4165863221	540,7292768389		g_texp	4082	ff2	3023	0BCF
		47	3180	50069,661	50742,3378071319	452494,086853121		b_texp	4082	ff2	2952	0B88
		51	3180	58161,507	59306,1016403829	1310096,89079318		r_gain	33	21	53	0035
		40	3072	39243,458	38471,8323355076	595406,166103382		g_gain	33	21	44	002C
		40	3456	44222,199	43280,811377446	886210,655897846		b_gain	25	19	39	0027
		40	3840	46364,174	48089,7904193845	2977752,02684924
		40	4224	52940,878	52898,7694613229	1773,1290295203		calculated	n =	1,05
		40	4608	57447,59	57707,7485032614	67682,4468191865			quality	normal
		40	4992	59711,848	62516,7275451998	7867349,2630802		red	33590,2094485155	33763,6182897308
normal	red	51	3328	4596,393	5520,3508833024	853698,170116723		green	33663,0134815698	33388,0785030917
		51	3584	9835,315	10986,2240281719	1324591,59112752		blue	34684,5677167479	34339,6549592444
		51	3705	12992,685	13569,7031318016	332949,924427752		mean	33979,2635489444	33830,4505840223
		55	3705	28209,103	28104,9024930181	10857,7456552809
		59	3705	50703,065	46731,0410802287	15776974,0192351
		53	3328	6505,608	11650,382435255	26468703,9896537
		55	3328	13478,631	18576,5299586408	25988573,7925113
		57	3328	21939,438	26416,3700635475	20042920,7016193
		59	3328	38032,787	35307,3772510125	7427858,29987618
		61	3328	52024,981	45410,6155526886	43749830,2705873
	green	45	3072	6858,232	7991,7433083735	1284847,88621062
		45	3328	12754,109	14119,055250738	1863078,26740366
		45	3584	18493,521	20246,3671931024	3072469,77667368
		47	3071	15143,117	13550,2459186915	2537238,28166884
		51	3071	28194,988	26897,5996626275	1683216,49795022
		55	3071	46322,565	43881,7202200624	5957723,23974885
		46	3072	12783,827	10702,4430544533	4332159,12877938
		48	3072	18383,692	16623,208862407	3099300,87774918
		51	3072	28665,73	26927,6985228237	3020753,41565557
		54	3072	36532,488	39272,444215056	7507360,06042413
		56	3072	46791,579	48859,0927269998	4274613,0113327
	blue	36	3328	10155,086	8324,2062553254	3352120,63945986
		36	3584	15646,278	14005,7605826581	2691297,39660219
		39	3180	12757,707	11648,3636407261	1230642,68876515
		43	3180	22330,57	22406,8331726442	5816,0715017565
		47	3180	34572,38	35948,6756142637	1894189,61784159
		51	3180	50760,612	53076,2032807657	5361962,97955824
		37	3840	25697,027	22198,6612699867	12238562,7809318
		41	3840	36167,194	33793,4163112781	5634820,51547385
		45	3840	49407,949	48361,3064055591	1095460,72049796
		49	3072	38706,868	40284,0349525111	2487455,59609317
		51	3072	47130,587	49047,864301419	3675952,25053642

	I = aj *exp(c * g^2) * t
	I = nj * aj *exp(c * g^2) * t – (n - 1) * 65536 , n > 1

		gain	t_exp	I	calc	diff²
quality	red	31	3705	21565,826	20618,9652543842	896545,271588079
		35	3705	23644,892	22902,0203485955	551858,290460499		a_r	3,7971916854			57374,4708555436
		39	3705	26264,123	25763,7358798446	250387,270017385		a_g	5,3530321817
		43	3705	29477,249	29354,3178859818	15112,0587937664		a_b	6,6321277503
		47	3705	33601,986	33873,7486307936	73854,9274958747		c	3,97779681E-04
		51	3705	39051,67	39589,7391666468	289518,428096002		nr	2,0057976377
		55	3705	46548,437	46863,0049681125	98953,0065623926		ng	2,0057976377
		59	3705	57787,635	56183,1051796528	2574515,94438343		nb	2,0057976377
		37	3072	20739,98	20108,667924207	398554,937042123
		37	4128	27689,976	27021,0225231531	447498,754185559		vv	262355784,242524
		37	5184	33525,927	33933,3771220992	166015,601998679		vvq	42907742,6717209
		37	6240	41488,18	40845,7317210454	412739,791131758
		37	7296	48281,986	47758,0863199915	274470,874712986
		37	8352	54133,751	54670,4409189377	288036,069089316		From USB snoop				bright	75000
		37	9408	61781,746	61582,7955178838	39581,2943342673		d7 PIE_READ_CALIBRATION				ar	3,9013383547
		37	10464	65516,372	68495,1501168299	8873119,06930493		r_texp	8419	20E3		ag	5,6571421991
	green	31	3071	24812,646	24093,2731305454	517497,325307351		g_texp	5806	16ae		ab	6,6592917611
		35	3071	27228,386	26761,0243623982	218426,900301792		b_texp	4510	119e		tmin	3072
		39	3071	30191,909	30104,9406581808	7563,492478778		target_ill	55000	e178		tmax	3840
		43	3071	33888,489	34300,5378622204	169784,264857114		r_gain	36	24
		47	3071	38625,592	39581,4953683777	913751,24967578		g_gain	36	24		62,3288757068	66,6772935187	64,5030846127
		51	3071	44870,961	46260,6337001444	1931190,21352655		b_gain	39	27		54,3203949469	59,2594130184	56,7899039827
		55	3071	53549,617	54759,4491035268	1463693,71872396					50,405294428	55,6926066051	53,0489505165
		37	3072	28787,387	28347,8832376633	193163,557108145
		37	3712	34656,951	34253,6922455098	162617,623073003
		37	4352	41944,312	40159,5012533563	3185549,40133487
		37	4992	46093,049	46065,3102612028	769,4376300588
		37	5632	51766,807	51971,1192690493	41743,503284081		n		I0	f	I1	J0	J0x	diff²
		37	6272	57489,523	57876,9282768958	150082,848566739		6,492532986	231,827	59347,712	62441,856	45447,1680166124	177,528	45447,168	2,75972348512076E-010
		37	6912	62952,771	63782,7372847424	688844,033809013		3,5582386862	211,691	54192,896	59864,448	45355,2642629995	177,169	45355,264	6,91687176974288E-008
	blue	31	3180	32215,756	30909,7958268293	1705531,97390817		3,6564544407	213,502	54656,512	60096,256	45645,8238947682	178,304	45645,824	1,10737325520684E-008
		35	3180	35320,814	34332,3132011416	977133,829343731		8,05184225980093E-008
		39	3180	39165,556	38622,2977708847	295129,503501485
		43	3180	43948,163	44004,9227154409	3221,6652969305		B	45000	a	3,8438822807
		47	3180	50069,661	50779,9805251885	504553,82786395		c	3,98E-004	f	55262,6950546221
		51	3180	58161,507	59348,7956054575	1409654,2326492		Ix	54190	B	44989,3901092442
		40	3072	39243,458	38501,6841868042	550228,389942999		tx	8419	B8	175,7398051142
		40	3456	44222,199	43314,3947101548	824108,628661435		gx	36
		40	3840	46364,174	48127,1052335053	3107926,53406845		ty	3116
		40	4224	52940,878	52939,8157568558	1,1283604974		gy	62
		40	4608	57447,59	57752,5262802063	92986,1349860799
		40	4992	59711,848	62565,2368035569	8141827,66426369
normal	red	51	3328	4596,393	5412,8367391457	666580,37919014
		51	3584	9835,315	10899,6667947997	1132844,74309335
		51	3705	12992,685	13493,0513132924	250366,447477868
		55	3705	28209,103	28081,7506762419	16218,6143665859
		59	3705	50703,065	46775,9856636839	15421952,113721
		53	3328	6505,608	11565,469957394	25602203,0278828
		55	3328	13478,631	18517,0719563915	25385887,2710432
		57	3328	21939,438	26385,6275659372	19768601,6562489
		59	3328	38032,787	35309,0865416025	7418544,18707455
		61	3328	52024,981	45449,0672575085	43242641,5486891
	green	45	3072	6858,232	7897,2505481141	1079559,54332513
		45	3328	12754,109	14048,35092582	1675062,16255032
		45	3584	18493,521	20199,451303526	2910198,20048817
		47	3071	15143,117	13476,5159221985	2777559,15252919
		51	3071	28194,988	26873,5158099328	1746288,74912113
		55	3071	46322,565	43920,419669292	5770302,1898425
		46	3072	12783,827	10618,0845312189	4690440,44108222
		48	3072	18383,692	16560,9390634593	3322428,26766779
		51	3072	28665,73	26903,7305509924	3104642,05830291
		54	3072	36532,488	39294,1493184089	7626773,23759578
		56	3072	46791,579	48916,1233955022	4513688,88845965
	blue	36	3328	10155,086	8217,0978124466	3755798,21509643
		36	3584	15646,278	13919,6402583546	2981277,89087438
		39	3180	12757,707	11552,5596470589	1452380,14230103
		43	3180	22330,57	22349,0160454788	340,256593807
		47	3180	34572,38	35938,4109955566	1866040,68082131
		51	3180	50760,612	53125,7200414549	5593736,04775449
		37	3840	25697,027	22142,4465111133	12635042,4519741
		41	3840	36167,194	33778,2456287779	5707074,32036457
		45	3840	49407,949	48397,4354879619	1021137,55801159
		49	3072	38706,868	40288,4223064581	2501314,0242763
		51	3072	47130,587	49082,7952632197	3811117,10298344

## 2NGTnone
I = nj * aj *exp(c * gj^2) * t – (nj -1) * 65536				where aj is derived from d7-ReadCalibration and the calibration lines read

	targeted	texp	gain	illu		texp	gain	illu		texp	gain	illu
out1.tiff	45000	3141	62	232,033	59400,448	3131	55	211,719	54200,064	3010	51	213,845	54744,32
out2.tiff	42500	3068	62	226,429	57965,824	3063	55	206,984	52987,904	3064	50	208,648	53413,888
out3.tiff	40000	3152	61	216,843	55511,808	3126	54	201,193	51505,408	3115	49	204,087	52246,272
out4.tiff	37500	3082	61	211,719	54200,064	3056	54	196,438	50288,128	3044	49	199,523	51077,888
out5.tiff	35000	3155	60	202,788	51913,728	3111	53	191,244	48958,464	3086	48	194,626	49824,256

new experiment as we need values of internal calibration

	targeted	from d7-read							illumination from calibration lines				dc set values
	brightness (set)	ill_ic	gr	gg	gb	tr_ic	tg_ic	tb_ic	ir (measured)	ig	ib	ii	gr	tr	ir		gg	tg	ig		gb	tb	ib
out1.tiff	45000	57587	36	36	39	8419	5806	4510	54351	52260	54597	53158	62	3107	231,912	59369,472	55	3086	211,37	54110,72	50	3093	213,626	54688,256
out2.tiff	42500	57587	36	36	39	8419	5908	4510	54169	52922	54413	53360	62	3047	226,581	58004,736	55	3031	206,921	52971,776	50	3033	209,382	53601,792
out3.tiff	40000	57587	36	36	39	8419	5908	4510	54091	52832	54352	53413	61	3130	216,688	55472,128	54	3098	201,052	51469,312	49	3085	204,299	52300,544
out4.tiff	37500	57587	36	36	39	8635	5908	4510	55367	52770	54297	53460	61	3062	211,84	54231,04	54	3028	196,386	50274,816	49	3015	199,658	51112,448
out5.tiff	35000	57587	36	36	39	8419	5908	4510	54014	52764	54243	53547	60	3133	202,557	51854,592	53	3083	191,346	48984,576	48	3061	195,123	49951,488
out6.tiff	32500	57587	36	36	39	8419	5908	4510	54031	52733	54193	53589	60	3054	197,59	50583,04	53	3008	186,63	47777,28	47	3103	190,787	48841,472
out7.tiff	30000	57587	36	36	39	8419	5908	4510	54010	52698	54139	53621	59	3122	189,987	48636,672	52	3059	181,38	46433,28	47	3026	185,731	47547,136
out8.tiff	27500	57587	36	36	39	8419	5908	4510	53968	52662	54100	53658	59	3042	184,831	47316,736	51	3105	176,549	45196,544	46	3061	181,064	46352,384
out9.tiff	25000	57587	36	36	39	8419	5908	4510	53947	52572	54028	53645	58	3103	177,511	45442,816	51	3027	171,793	43979,008	45	3092	176,818	45265,408

c	3,93526582E-04	from QGTnone

	factor a	gain	offset	texp	illu	calc	diff
red	3,8766117299	62	14	3107	59369,472	59320,4719534454	2401		c	3,93526582E-04
	3,8636304907	62	14	3047	58004,736	57649,9132943278	125899
	3,8580671024	61	14	3130	55472,128	55782,145754168	96111		cr	4,19682524E-04
	3,8502943007	61	14	3062	54231,04	54114,0311339805	13691		nr	1,2229896394		2849,7319002675
	3,8525750396	60	14	3133	51854,592	52265,3672299904	168736		vv	490686,874376239
	3,853787573	60	15	3054	50583,04	50599,4961485084	271
	3,8522897377	59	15	3122	48636,672	48779,2357277965	20324
	3,8492940671	59	14	3042	47316,736	47106,7799151435	44082
	3,8477962318	58	14	3103	45442,816	45304,3545747658	19172
green	5,4050242886	55	7	3086	54110,72	54119,0792675424	70		cg	3,92060196E-04		14483,245281216
	5,378993727	55	7	3031	52971,776	52832,3785034539	19432		ng	1,0447735936
	5,3698461242	54	7	3098	51469,312	51587,6873393166	14013		vv	43872,4755970208
	5,3635444422	54	7	3028	50274,816	50293,2137769369	338
	5,3629346021	53	8	3083	48984,576	49027,6703698912	1857
	5,3597837611	53	8	3008	47777,28	47733,8082180494	1890
	5,35622636	52	8	3059	46433,28	46481,9387330572	2368
	5,3525673189	51	8	3105	45196,544	45206,9393971718	108
	5,3434197161	51	7	3027	43979,008	43917,3875495152	3797
blue	6,6533990016	50	12	3093	54688,256	54725,0569990083	1354		cb	3,89647803E-04
	6,6309760587	50	12	3033	53601,792	53511,5982069497	8135		nb	0,9805181615
	6,6235423656	49	12	3085	52300,544	52339,3575658522	1506		vv	19415,722682046
	6,6168398555	49	12	3015	51112,448	51130,2259896876	316
	6,6102592092	48	12	3061	49951,488	49965,0715071132	185
	6,6041660182	47	12	3103	48841,472	48795,6812227372	2097
	6,5975853719	47	12	3026	47547,136	47570,3389879346	538
	6,5928326829	46	12	3061	46352,384	46406,679995756	2948
	6,5840584878	45	12	3092	45265,408	45217,0737648691	2336

	normal		quality	45000	f_corr
	179,496	45950,976	178,404	45671,424	0,993916299
	182,411	46697,216	177,07	45329,92	0,9707199675
	175,574	44946,944	179,35	45913,6	1,0215066012